ПРИЛОЖЕНИЕ №1 към Запитване за оферта рег.№ 93-00-12939/18.11.2024

Спецификация за първоначална доставка на апаратура Сименс

| Поз.№ | Кат.№ / Описание | К-во |
| --- | --- | --- |
| 1 | 6SL3224-0BE31-8AA0 ***spare part*** SINAMICS G120 PM240 Power Module with integrated filter class A with integrated braking chopper 380-480 V 3 AC +10/-10% 47-63 Hz | 1 |
| 2 | 3TL8100-1BA05 Vacuum Contactor 400A 7.2kV with short operating shaft with auxiliary switch 4NO+4NC without wiring without aditional modules operating voltage of solenoid AC/DC 110V - 250V | 2 |
| 3 | 7MF1567-3CB00-1AA1 SITRANS P220 Transmitters for pressure and absolute pressure fully welded version for high-pressure and refrigerant applications; Measuring range for gauge: 0 to 16 bar | 10 |
| 4 | 7MF1567-3BG00-1AA1 SITRANS P220 Transmitters for pressure and absolute pressure fully welded version for high-pressure and refrigerant applications; Measuring range for gauge: 0 to 6 bar | 10 |
| 5 | 6ES7331-1KF02-0AB0 SIMATIC S7-300, Analog input SM 331, Isolated 8 AI, resolution 13 bits U/I/resistor/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | 5 |
| 6 | C73451-A430-D81 Pneumatic block, double-acting, including seal and screws for SIPART PS2 6DR5.2* | 10 |
| 7 | 6ES7153-4AA01-0XB0 *** spare part *** SIMATIC DP, connection ET 200M IM 153-4 PN IO for max. 12 S7-300 modules | 4 |
| 8 | LZS:PT78740 plug-in socket for PT relay, 4 changeover contacts, screw terminal | 50 |
| 9 | 3RW5244-6TC04 SIRIUS soft starter 200-480 V 250 A, 24 V AC/DC Screw terminals Thermistor input | 1 |
| 10 | 6AV2124-0MC01-0AX0 SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | 3 |
| 11 | 3RN2010-1BW30 Thermistor motor protection relay Standard evaluation unit 22.5 mm enclosure screw terminal 2 change-over contacts US = 24 V-240 V AC/DC Auto-reset suitable for bimetallic switch 2 LEDs (READY/TRIPPED) galvanic isolation | 10 |